**RFP:** Generator Installation

**To:** All bidders

**Subject: Site Commissioning, Load Testing, Gas Connection**

Proponents are advised that Addendum No. 1 is hereby issued. This Addendum will form part of the Request for Quotation.

1. **Load Testing and Commissioning**

**Question: Are load test and commissioning of the generator/ats to be included in the quotation (it is usually included with purchase of the generator)?**

* Page 2 of the RFQ has a request for Testing and Commissioning, however, the company providing the generator will provide commissioning and 4 hr Load Bank test. This is no longer a requirement to be included in the quotation.
1. **Gas Connection**

**Question: Are we to carry the subcontractor for connecting the gas to the generator?**

* No, the Town of Creston will hire a contractor to carry out this work.

 End of Addendum 1.